## Cable labels
Cable label | Total qty | Sh 1 | Sh 2 | Sh 3 | Sh 4 | Sh 5 | Sh 6 | Sh 7 | Sh 8 | Sh 9 | Sheets
1N48 | 9 | Sh 1: 3; Sh 2: 6 | 1, 2
1P48 | 5 | Sh 1: 5 | 1
2P48 | 4 | Sh 1: 1; Sh 2: 3 | 1, 2
3P48 | 4 | Sh 1: 1; Sh 2: 3 | 1, 2
1N24 | 40 | Sh 3: 14; Sh 4: 13; Sh 7: 4; Sh 8: 3; Sh 9: 6 | 3, 4, 7, 8, 9
1P24 | 36 | Sh 3: 14; Sh 4: 13; Sh 7: 2; Sh 8: 3; Sh 9: 4 | 3, 4, 7, 8, 9
N24 | 1 | [9 empty] | 1 | bar: Sh 1
P24 | 1 | [9 empty] | 1 | bar: Sh 1
1N12 | 5 | Sh 5: 5 | 5
1P12 | 5 | Sh 5: 5 | 5
N12 | 1 | [9 empty] | 1 | bar: Sh 1
P12 | 1 | [9 empty] | 1 | bar: Sh 1
DI00 | 1 | [9 empty] | 9 | bar: Sh 9
DI01 | 2 | [9 empty] | 8, 9 | bar: Sh 8 to Sh 9
DI02 | 2 | [9 empty] | 8, 9 | bar: Sh 8 to Sh 9
DI03 | 1 | [9 empty] | 9 | bar: Sh 9
DI04 | 1 | [9 empty] | 9 | bar: Sh 9
DI05 | 1 | [9 empty] | 9 | bar: Sh 9
DI06 | 1 | [9 empty] | 9 | bar: Sh 9
EDM-L | 1 | [9 empty] | 8 | bar: Sh 8
EDM-R | 1 | [9 empty] | 8 | bar: Sh 8
HWTO1 | 3 | Sh 8: 3 | 8
HWTO2 | 3 | Sh 8: 3 | 8
I1 | 2 | Sh 8: 2 | 8
I2 | 2 | Sh 8: 2 | 8
MANUAL | 1 | [9 empty] | 8 | bar: Sh 8
NET-GND-01 | 1 | [9 empty] | 4 | bar: Sh 4
NET-GND-02 | 1 | [9 empty] | 4 | bar: Sh 4
NET-VIN-01 | 1 | [9 empty] | 4 | bar: Sh 4
NET-VIN-02 | 1 | [9 empty] | 4 | bar: Sh 4
OSSD1 | 1 | [9 empty] | 8 | bar: Sh 8
OSSD2 | 1 | [9 empty] | 8 | bar: Sh 8
PE | 4 | Sh 2: 4 | 2
X1 | 1 | [9 empty] | 8 | bar: Sh 8
X2 | 1 | [9 empty] | 8 | bar: Sh 8
TOTAL | 146 | 14 | 16 | 28 | 30 | 10 | 0 | 6 | 25 | 17 | 35 unique

## Sheet2
LABEL | JUMLAH | SELANG
P48 | 4 | BESAR
N48 | 8 | BESAR
1P48 | 4 | BESAR
2P48 | 4 | BESAR
3P48 | 4 | BESAR
1N48 | 8 | BESAR
P24 | 4 | KECIL
N24 | 4 | KECIL
1P24 | 30 | KECIL
1N24 | 30 | KECIL
P12 | 2 | KECIL
N12 | 2 | KECIL
1P12 | 6 | KECIL
1N12 | 6 | KECIL
DI.00 | 4 | KECIL
DI.01 | 4 | KECIL
DI.02 | 4 | KECIL
DI.03 | 4 | KECIL
DI.04 | 4 | KECIL
DI.05 | 4 | KECIL
DI.06 | 4 | KECIL
DI.07 | 4 | KECIL
DI.08 | 4 | KECIL
DI.09 | 4 | KECIL
DI.10 | 4 | KECIL
DO.00 | 4 | KECIL
DO.01 | 4 | KECIL
DO.08 | 4 | KECIL
DO.09 | 4 | KECIL
L.EDM- | 4 | KECIL
L.EDM+ | 4 | KECIL
R.EDM- | 4 | KECIL
R.EDM+ | 4 | KECIL
L.HWTO1+ | 4 | KECIL
L.HWTO1- | 4 | KECIL
L.HWTO2+ | 4 | KECIL
L.HWTO2- | 4 | KECIL
R.HWTO1+ | 4 | KECIL
R.HWTO1- | 4 | KECIL
R.HWTO2+ | 4 | KECIL
R.HWTO2- | 4 | KECIL
NET-VIN | 6 | KECIL
NET-GND | 6 | KECIL
I1 | 4 | KECIL
I2 | 4 | KECIL
I3 | 4 | KECIL
I4 | 4 | KECIL
I5 | 4 | KECIL
I6 | 4 | KECIL
I7 | 4 | KECIL
I8 | 4 | KECIL
Q1 | 4 | KECIL
Q2 | 4 | KECIL
Q3 | 4 | KECIL
Q4 | 4 | KECIL
X1 | 4 | KECIL
X2 | 4 | KECIL
F.OSSD1 | 3 | KECIL
F.OSSD2 | 3 | KECIL
F.IO.1 | 3 | KECIL
F.IO.2 | 3 | KECIL
R.OSSD1 | 3 | KECIL
R.OSSD2 | 3 | KECIL
R.IO.1 | 3 | KECIL
R.IO.2 | 3 | KECIL
P.FWD | 4 | KECIL
P.RVS | 4 | KECIL
P.LFT | 4 | KECIL
P.RGT | 4 | KECIL
P.EMG | 4 | KECIL
P.STA | 4 | KECIL
P.EMG | 8 | KECIL
P.RST | 4 | KECIL
SS.MAN | 4 | KECIL

## Label locations
Sheet | Line | Ref (sheet+line) | Cable label
1 | 03 | 0103 | 1N48
1 | 03 | 0103 | 1P48
1 | 05 | 0105 | 1P48
1 | 05 | 0105 | 2P48
1 | 07 | 0107 | 1P48
1 | 07 | 0107 | 3P48
1 | 10 | 0110 | 1P48
1 | 10 | 0110 | P24
1 | 11 | 0111 | 1N48
1 | 11 | 0111 | N24
1 | 14 | 0114 | 1P48
1 | 14 | 0114 | P12
1 | 15 | 0115 | 1N48
1 | 15 | 0115 | N12
2 | 02 | 0202 | 1N48
2 | 02 | 0202 | 1N48
2 | 02 | 0202 | 1N48
2 | 02 | 0202 | 2P48
2 | 02 | 0202 | 2P48
2 | 02 | 0202 | 2P48
2 | 03 | 0203 | PE
2 | 03 | 0203 | PE
2 | 07 | 0207 | 1N48
2 | 07 | 0207 | 1N48
2 | 07 | 0207 | 1N48
2 | 07 | 0207 | 3P48
2 | 07 | 0207 | 3P48
2 | 07 | 0207 | 3P48
2 | 08 | 0208 | PE
2 | 08 | 0208 | PE
3 | 03 | 0303 | 1N24
3 | 03 | 0303 | 1P24
3 | 05 | 0305 | 1N24
3 | 05 | 0305 | 1N24
3 | 05 | 0305 | 1N24
3 | 05 | 0305 | 1P24
3 | 05 | 0305 | 1P24
3 | 05 | 0305 | 1P24
3 | 08 | 0308 | 1N24
3 | 08 | 0308 | 1N24
3 | 08 | 0308 | 1N24
3 | 08 | 0308 | 1P24
3 | 08 | 0308 | 1P24
3 | 08 | 0308 | 1P24
3 | 11 | 0311 | 1N24
3 | 11 | 0311 | 1N24
3 | 11 | 0311 | 1P24
3 | 11 | 0311 | 1P24
3 | 15 | 0315 | 1P24
3 | 15 | 0315 | 1P24
3 | 15 | 0315 | 1P24
3 | 16 | 0316 | 1N24
3 | 16 | 0316 | 1N24
3 | 16 | 0316 | 1N24
3 | 18 | 0318 | 1N24
3 | 18 | 0318 | 1N24
3 | 18 | 0318 | 1P24
3 | 18 | 0318 | 1P24
4 | 02 | 0402 | 1N24
4 | 02 | 0402 | 1N24
4 | 02 | 0402 | 1P24
4 | 02 | 0402 | 1P24
4 | 05 | 0405 | 1N24
4 | 05 | 0405 | 1N24
4 | 05 | 0405 | 1P24
4 | 05 | 0405 | 1P24
4 | 08 | 0408 | 1N24
4 | 08 | 0408 | 1N24
4 | 08 | 0408 | 1N24
4 | 08 | 0408 | 1P24
4 | 08 | 0408 | 1P24
4 | 08 | 0408 | 1P24
4 | 10 | 0410 | 1P24
4 | 11 | 0411 | 1N24
4 | 13 | 0413 | 1N24
4 | 13 | 0413 | 1P24
4 | 15 | 0415 | 1N24
4 | 15 | 0415 | 1N24
4 | 15 | 0415 | 1P24
4 | 15 | 0415 | 1P24
4 | 15 | 0415 | NET-GND-01
4 | 15 | 0415 | NET-VIN-01
4 | 18 | 0418 | 1N24
4 | 18 | 0418 | 1N24
4 | 18 | 0418 | 1P24
4 | 18 | 0418 | 1P24
4 | 18 | 0418 | NET-GND-02
4 | 18 | 0418 | NET-VIN-02
5 | 03 | 0503 | 1N12
5 | 03 | 0503 | 1P12
5 | 05 | 0505 | 1N12
5 | 05 | 0505 | 1N12
5 | 05 | 0505 | 1P12
5 | 05 | 0505 | 1P12
5 | 08 | 0508 | 1N12
5 | 08 | 0508 | 1N12
5 | 08 | 0508 | 1P12
5 | 08 | 0508 | 1P12
7 | 15 | 0715 | 1N24
7 | 16 | 0716 | 1N24
7 | 17 | 0717 | 1P24
7 | 19 | 0719 | 1N24
7 | 20 | 0720 | 1N24
7 | 20 | 0720 | 1P24
8 | 02 | 0802 | I1
8 | 02 | 0802 | X1
8 | 03 | 0803 | I2
8 | 03 | 0803 | X2
8 | 04 | 0804 | 1P24
8 | 05 | 0805 | 1N24
8 | 06 | 0806 | I1
8 | 07 | 0807 | I2
8 | 08 | 0808 | EDM-L
8 | 09 | 0809 | EDM-R
8 | 10 | 0810 | OSSD1
8 | 11 | 0811 | OSSD2
8 | 12 | 0812 | 1N24
8 | 12 | 0812 | 1P24
8 | 12 | 0812 | DI02
8 | 12 | 0812 | MANUAL
8 | 13 | 0813 | 1P24
8 | 14 | 0814 | 1N24
8 | 14 | 0814 | DI01
8 | 17 | 0817 | HWTO1
8 | 17 | 0817 | HWTO1
8 | 17 | 0817 | HWTO1
8 | 18 | 0818 | HWTO2
8 | 18 | 0818 | HWTO2
8 | 18 | 0818 | HWTO2
9 | 01 | 0901 | 1P24
9 | 02 | 0902 | 1N24
9 | 05 | 0905 | 1N24
9 | 05 | 0905 | DI00
9 | 05 | 0905 | DI01
9 | 06 | 0906 | DI02
9 | 07 | 0907 | 1N24
9 | 07 | 0907 | DI03
9 | 08 | 0908 | DI04
9 | 09 | 0909 | DI05
9 | 10 | 0910 | DI06
9 | 11 | 0911 | 1P24
9 | 12 | 0912 | 1N24
9 | 15 | 0915 | 1P24
9 | 17 | 0917 | 1P24
9 | 18 | 0918 | 1N24
9 | 20 | 0920 | 1N24

## TB markers
TB | Times drawn | Drawn at (sheet+line)
TB01 | 1 | 0202
TB02 | 1 | 0202
TB03 | 1 | 0207
TB04 | 1 | 0207
TB05 | 1 | 0203
TB06 | 1 | 0208
TB07 | 1 | 0305
TB08 | 1 | 0305
TB09 | 1 | 0308
TB10 | 1 | 0308
TB11 | 2 | 0311, 0804
TB12 | 2 | 0311, 0805
TB13 | 1 | 0315
TB14 | 1 | 0316
TB15 | 1 | 0402
TB16 | 1 | 0402
TB17 | 1 | 0405
TB18 | 1 | 0405
TB19 | 1 | 0408
TB20 | 1 | 0408
TB21 | 1 | 0415
TB22 | 1 | 0415
TB23 | 1 | 0418
TB24 | 1 | 0418
TB25 | 2 | 0318, 0901
TB26 | 2 | 0318, 0902
TB29 | 1 | 0505
TB30 | 1 | 0505
TB31 | 1 | 0508
TB32 | 1 | 0508
TB33 | 1 | 0605
TB34 | 1 | 0606
TB35 | 1 | 0609
TB36 | 1 | 0610
TB37 | 1 | 0615
TB38 | 1 | 0615
TB39 | 1 | 0606
TB40 | 1 | 0610
TB41 | 1 | 0618
TB42 | 1 | 0619
TB43 | 2 | 0715, 0817
TB44 | 1 | 0715
TB45 | 2 | 0716, 0808
TB46 | 2 | 0716, 0818
TB47 | 1 | 0716
TB48 | 1 | 0717
TB49 | 2 | 0718, 0818
TB50 | 1 | 0718
TB51 | 2 | 0719, 0809
TB52 | 2 | 0719, 0819
TB53 | 1 | 0720
TB54 | 1 | 0720
TB55 | 1 | 0911
TB56 | 1 | 0905
TB57 | 1 | 0905
TB58 | 2 | 0814, 0906
TB59 | 2 | 0812, 0906
TB60 | 1 | 0907
TB61 | 1 | 0908
TB62 | 1 | 0909
TB63 | 1 | 0910
TB64 | 1 | 0907
TB65 | 1 | 0912
TB66 | 1 | 0915
TB67 | 1 | 0917
TB68 | 1 | 0918
TB69 | 1 | 0920
TOTAL | 79 | 67 unique

## Notes
Source | 01-schematic/proj01-sheet-01..09.html (rendered), 2026-10-03
Cable label | Wire label / cable marker written along a conductor (bus→TB, TB→device, device end, outgoing end), per agent/reference/api.md
Counted | Each drawn instance = one marker. "(SH.xx)" cross-references stripped (1P24 (SH.03) → 1P24).
Not counted | Bus header names (P48/N48, P24/N24 … at top of rails), terminal names inside device boxes, sheet 7 pin table, device front views, destination text (e.g. SAFETY PLC Q1, PB RESET 23 (SH.08), IPC (ETHERNET)), cable spec marks (AWG22 BLUE …).
Sheet 6 | CAN wiring carries no net wire labels, only TB markers. Core colours WHITE/CANH, BLACK/CANL at the MLSE are not counted.
TB markers | TB terminals listed separately. Some TBs appear on two sheets (same terminal, cross-referenced). TB27 and TB28 do not appear on any sheet.